## Summary for Tooling list
| Tooling and Measuring Equipment in Bosch Rexroth Pte Ltd | [17 empty] | DCFR 78515-001
DATE : 14/02/2025
EDITOR: DCEA/QMM-SG
form : DCFR 78515-001
| Div. | Description | Brand (Make) | Tag | Model/Part No | Serial / Id no | Range | Tolerence Limit |  | In USE? (Y=Yes; N=No) | Actual Calibration Interval (No. of Yr) | Last Calibration | Calibration Due | Remaining mths before Calibration due date | 1. External Cal: In-House / Lab | Calibration Report Number | Calibrator | P.I.C. | Action for Renewal Reminder
[8 empty] | External | Internal | [5 empty] | 2. Internal Cal
Bosch Rexroth Pte Ltd | FA | Blade Micrometer | Hengliang |  | 691-101A | 264988 | 0-25mm |  |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | DL-24-1200 | OrchidCal | RK
| FA | Blade Micrometer | Hengliang |  | 691-102A | 267754 | 25-50mm |  |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5333 | Lab | CTD 2964M-24 | Key Solutions | RK
| FA | Dial Comparator | MAHR | NIL | 865 SE | 81052170 | 0 - 0.1mm |  |  | Y | 2 | 2023-08-01 | 2025-08-01 | 5.1333 | Lab | DL-23-1109 | OrchidCal | RK
| FA | Dial Push Pull Gauge | AIKOH | NIL | ANF-500N | 126881 | 0 - 50kgf |  |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5333 | Lab | CTP 1857M-24 | Key Solutions | RK
| FA | Dial Test Indicators | MAHR |  | MarTest 800 SGM | 22050743 | +/-0.1mm |  |  | Y | 2 | 2025-01-07 | 2027-01-07 | 22.6 | Lab | CTD 1023M-25 | Key Solutions | RK
| FA | Dial Test Indicator | MAHR | NIL | MarTest 800 SGM | 91030861 | 0 - 0.2mm |  |  | Y | 2 | 2023-08-01 | 2025-05-01 | 2.0667 | Lab | DL-23-1110 | OrchidCal | RK
| FA | Dial Test Indicator | MITUTOYO | NIL | 2046F | DAS567 | 0 - 10mm |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2480M-23 | Key Solutions | RK
| FA | Dial Test Indicator | MITUTOYO | NIL | 513-404 | FGS562 | 0 - 0.8mm |  |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5333 | Lab | CTD 2962M-24 | Key Solutions | RK
| FA | Dial Test Indicator | MITUTOYO | NIL | 513-405 | FRV538 | 0 - 0.2mm |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2481M-23 | Key Solutions | RK
| FA | Dial Test Indicator | MITUTOYO | NIL | 513-404 | YMT956 | 0 - 0.8mm |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2482M-23 | Key Solutions | RK
| FA | Digimatic Offset Centerline Caliper (Digimatic Caliper) | Sanliang |  | 119-331 | 2050302 | 0-200mm | ±0.03mm |  | Y | 2 | 2025-01-07 | 2027-01-07 | 22.6 | Lab | CTD 1022M-25 | Key Solutions | RK
| FA | Digimatic Caliper | MITUTOYO |  | CD-8" ASX | A22218329 | 0-200mm | ±0.03mm |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5333 | Lab | CTD 2960M-24 | Key Solutions | RK
DCFR 78515-001_FOR_N_EN_2024-10-10 (Calibration Tooling & Measuring Equipment).xlsm | FA | Digital Vernier Caliper | HOLEX | Nil | 41 2821 150 | H1493446 | 0-150mm | ±0.02mm |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5333 | Lab | CTD 2959M-24 | Key Solutions | RK
| FA | Digimatic Caliper | MITUTOYO |  | CD-P15S (500-702-20) | B23383021 | 0.01-150MM | ±0.03mm |  | Y | 2 | 2024-05-28 | 2026-05-28 | 15.1333 | Lab | DL-24-1110 | OrchidCal | RK
| FA | Digimatic Depth Gauge | Hengliang |  | 550-103-1 | 9072877 | 0-300mm |  |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5333 | Lab | CTD 2961M-24 | Key Solutions | RK
| FA | Digimatic Offset Centerline Caliper | MITUTOYO | NIL | NTD10P-15PMX | 0002868 | 10-160MM/0.01MM | ±0.03mm |  | Y | 2 | 2023-05-06 | 2025-05-06 | 2.2333 | Lab | DL-23-1084 | OrchidCal | RK
| FA | Digimatic Offset Centerline Caliper | MITUTOYO |  | NTD10P-6"PMX, (573-705) | 0000136 | 0.4-6"/10-160MM | ±0.03mm |  | Y | 2 | 2024-05-28 | 2026-05-28 | 15.1333 | Lab | DL-24-1111 | OrchidCal | RK
| FA | Digital Caliper | MITUTOYO | Nil | 500-704-20 | 0022858 | 0-300mm | ±0.03mm |  | Y | 2 | 2023-08-01 | 2025-08-01 | 5.1333 | Lab | DL-23-1106 | OrchidCal | RK
| FA | Digital Caliper | MITUTOYO | NIL | 500-173 | 1022090 | 0 - 300mm | ±0.03mm |  | Y | 2 | 2023-03-13 | 2025-03-13 | 0.43333 | Lab | DL-23-1063 | OrchidCal | RK
| FA | Digital Caliper | MITUTOYO | NIL | 505-673 | 7502979 | 0 - 300mm | ±0.03mm |  | Y | 2 | 2023-03-13 | 2025-03-13 | 0.43333 | Lab | DL-23-1062 | OrchidCal | RK
| FA | Digital Caliper | TESA |  | IP67 | IG028811 | 0-300mm | ±0.03mm |  | Y | 2 | 2024-05-28 | 2026-05-28 | 15.1333 | Lab | DL-24-1109 | OrchidCal | RK
| FA | Digital Force Gauge | IMADA | 100557 | DST-5N | 462487 | 0 - 5N |  |  | Y | 2 | 2023-08-01 | 2025-08-01 | 5.1333 | Lab | OR-23-1576 | OrchidCal | RK
| FA | Digital Micrometer c/w Setting Rod | MITUTOYO | NIL | 293-762-30 | 1278637/1056687 | 1 - 2" |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2479M-23 | Key Solutions | RK
| FA | Micrometer External c/w Setting Rod | MITUTOYO | NIL | - | 1285541 / 1080438 | 25 - 50mm |  |  | Y | 2 | 2024-01-12 | 2026-01-12 | 10.6 | Lab | MPD 1038M-24 | Key Solutions | RK
| FA | Micrometer Digital | MITUTOYO | NIL | 103-137 | 2002591 | 0 - 25mm |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2476M-23 | Key Solutions | RK
| FA | Digital Micrometer | MITUTOYO | NIL | 293-761-30 | 2130910 | 0 - 25.4mm |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2478M-23 | Key Solutions | RK
| FA | Digital Micrometer | MITUTOYO | NIL | 293-340 | 85020808 | 0 - 25.4mm |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2477M-23 | Key Solutions | RK
| FA | Granite Surface Plate | OPUS | NIL | 517-313 | 0103001 | 1500mmx1000mm |  |  | Y | 2 | 2023-03-30 | 2025-03-30 | 1 | Lab | TP-23-1038 | Opus Precision | RK
| FA | Granite Surface Plate | OPUS | NIL |  | 1305306 | 630mmx400mm |  |  | Y | 2 | 2023-06-28 | 2025-07-28 | 5 | Lab | MDF230306-1 | Key Solutions | RK
| FA | Granite Surface Plate | PREMIUM | - | - | T1818618 | 1500mmx300mm |  |  | Y | 2 | 2023-03-30 | 2025-03-30 | 1 | Lab | TP-23-1039 | Opus Precision | RK
| FA | Mahr Dial comparator (Micro Indicator) | MAHR |  | Millimess 1003 | 22050844 | +/-50umm |  |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5333 | Lab | CTD 2965M-24 | Key Solutions | RK
| FA | Mahr Dial comparator (Micro Indicator) | MAHR |  | Millimess 1003 | 22050857 | +/-50umm |  |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | DL-24-1202 | OrchidCal | RK
| FA | Inner groove width digital caliper | Hengliang |  | 365-101 | 2208230055 | 0-150mm | ±0.03mm |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5333 | Lab | CTD 2963M-24 | Key Solutions | RK
| FA | Mahr Dial comparator (Micro Indicator) | MAHR |  | Millimess 1003 | 91070519 | +/-50umm |  |  | Y | 2 | 2025-01-07 | 2027-01-07 | 22.6 | Lab | CTD 1025M-25 | Key Solutions | RK
| FA | Mahr Dial comparator (Micro Indicator) | MAHR |  | Millimess 1003 | 91070630 | +/-50umm |  |  | Y | 2 | 2025-01-07 | 2027-01-07 | 22.6 | Lab | CTD 1024M-25 | Key Solutions | RK
| FA | Precision Square | Preisser | NIL | 0388204 | 020874008 | 100X70MM | ±0.5mm |  | Y | 2 | 2023-08-01 | 2025-08-01 | 5.1333 | Lab | DL-23-1107 | OrchidCal | RK
| FA | Precision Square | ECE | NIL | Earth-Chain ETW-304 | - | 100X70MM | ±0.5mm |  | Y | 2 | 2023-08-01 | 2025-05-01 | 2.0667 | Lab | DL-23-1108 | OrchidCal | RK
| FA | Fluke Multimeter | FLUKE |  | 789 | 59690035 | - | 0.09% +2 |  | Y | 2 | 2023-04-20 | 2025-04-20 | 1.7 | Lab | EL-23-1053 | OrchidCal | RK
| FA | Torque Wrench | TOHNICHI | NIL | QL50N | 034108B | 10-50 Nm | +/- 5% |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | OR-24-2064 | OrchidCal | RK
| FA | Torque Wrench | TOHNICHI | NIL | QL12N4 | 061411Y | 2 - 12 Nm | +/- 5% |  | Y | 2 | 2023-07-05 | 2025-07-05 | 4.2333 | Lab | MPM 1989M-23 | Key Solutions | RK
| FA | Torque Wrench | TOHNICHI | NIL | QL50N | 070483Y | 10-50 Nm | +/- 5% |  | Y | 2 | 2024-12-10 | 2026-12-10 | 21.6667 | Lab | CTP 1865M-24 | Key Solutions | RK
| FA | Torque Wrench | KANON | NIL | 700TMK | 0106057 | 100-700kgf.cm | +/- 5% |  | Y | 2 | 2023-07-05 | 2025-07-05 | 4.2333 | Lab | MPM 1990M-23 | Key Solutions | RK
| FA | Torque Wrench | STAHLWILLE | NIL | Manoskop Nr.730/10 | 101149046 | 20-100 Nm | +/- 5% |  | Y | 2 | 2025-01-07 | 2027-01-07 | 22.6 | Lab | CTP 1015M-25 | Key Solutions | RK
| FA | Torque Wrench | STAHLWILLE |  | Serie Manoskop 730N | 121042729 | 20-100 Nm | +/- 5% |  | Y | 2 | 2024-12-10 | 2026-12-10 | 21.6667 | Lab | CTP 1866M-24 | Key Solutions | RK
| FA | True RMS Clamp Meter (Fluke Multimeter) | FLUKE |  | FLUKE 325 | 59330011WS | - | 1% ±5 count |  | Y | 2 | 2025-01-07 | 2027-01-07 | 22.6 | Lab | KS-E1366 | Key Solutions | RK
| FA | Torque Bench Machine | DC/LT-DE | 100553 (ICC BASA L2) | Torque Test For ICC | 2022.2257 | - | N.A. | <=0.05Nm | Y | 2 | 2024-10-07 | 2026-10-07 | 19.5333 | Internal Calibration | As per attached | DCSG Internal Calibration (Refer DCPD 50310-010) | RK
| HY | Dial Indicator / Gauge | MITUTOYO |  | 2046F | 467E13 | 0-10 mm |  |  | Y | 2 | 2024-11-21 | 2026-11-21 | 21.0333 | Lab | CTD 2861M-24 | Key Solutions
| HY | Clamp meter | FLUKE | BR_01 | Fluke 337 | 8311089 | multi range |  |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | EL-24-1275 | OrchidCal | JS
| HY | Clamp meter | FLUKE | BR_06.1 | Fluke 324 | 37980571WS | - |  |  | Y | 2 | 2023-03-13 | 2025-03-13 | 0.43333 | Lab | EL-23-1044 | OrchidCal | JS
| HY | (HT Package #1) Data Logger | HYDROTECHNIK | MS_04 | MS5060 3160-A0-79 | 2600 | NA |  |  | Y | 2 | 2023-05-08 | 2025-05-08 | 2.3 | Lab | EL-23-1064 | OrchidCal | JS
| HY | (HT Package #1) Flowmeter + Sensor | HYDROTECHNIK | FM_04 | RE4-600 31V7-72-S-35.030 | 24359 / 21146 | 600 l/min |  |  | Y | 2 | 2023-05-06 | 2025-05-06 | 2.2333 | Lab | OR-23-1382 | OrchidCal | JS
| HY | (HT Package #1) Pressure Transducer | HYDROTECHNIK | PR100 | 3403-18-S-E5.37 | Z220004141 | 0-600 bar |  |  | Y | 2 | 2023-05-08 | 2025-05-08 | 2.3 | Lab | ML-23-1193 | OrchidCal | JS
| HY | (HT Package #1) Temperature Probe | HYDROTECHNIK | RR_06 | 3973-04-S-01.00S | 13855 | minus 50 to 200°C |  |  | Y | 2 | 2023-05-08 | 2025-05-08 | 2.3 | Lab | TL-23-1048 | OrchidCal | JS
| HY | (HT Package #2) Data Logger | HYDROTECHNIK | MS_02 | MS5060 3160-A2-70.00 | 1593 | NA |  |  | Y | 2 | 2024-04-11 | 2026-04-11 | 13.5667 | Lab | EL-24-1048 | OrchidCal | JS
| HY | (HT Package #2) Flowmeter + Sensor | HYDROTECHNIK | FM_05 | RE4-300 31V7-71-S-35.030 | 23940 / 12733 | 9 to 300 l/ min |  |  | Y | 2 | 2024-04-13 | 2026-04-13 | 13.6333 | Lab | OR-24-1331 | OrchidCal | JS
| HY | (HT Package #2) Pressure Transducer | HYDROTECHNIK | PT_10 | PR300-3403-18-S-71.33A | 7614 | 0-600 bar |  |  | Y | 2 | 2024-04-11 | 2026-04-11 | 13.5667 | Lab | TL-24-1137 | OrchidCal | JS
| HY | (HT Package #2) Temperature Probe | HYDROTECHNIK | RR_07 | TE110 | 13476 | minus 50 to 200°C |  |  | Y | 2 | 2024-04-11 | 2026-04-11 | 13.5667 | Lab | TL-24-1035 | OrchidCal | JS
| HY | (HT Package #3) Data Logger | HYDROTECHNIK | MS_03 | MS5060Plus 3160-A0-79.00 | 2683 | NA |  |  | Y | 2 | 2024-04-11 | 2026-04-11 | 13.5667 | Lab | EL-24-1049 | OrchidCal | JS
| HY | (HT Package #3) Flowmeter + Sensor | HYDROTECHNIK | FM_06 | HySense QT 100 ISDS | 30387 / 44365 | 300 l/ min |  |  | Y | 2 | 2024-04-13 | 2026-04-13 | 13.6333 | Lab | OR-24-1332 | OrchidCal | JS
| HY | (HT Package #3) Pressure Transducer | HYDROTECHNIK | PT_11 | PR300-3403-10-S-71.33A | 7587 | 200 bar |  |  | Y | 2 | 2024-04-11 | 2026-04-11 | 13.5667 | Lab | ML-24-1138 | OrchidCal | JS
| HY | (HT Package #3) Temperature Probe | HYDROTECHNIK | RR_08 | PT100 | 16763 | minus 50 to 200°C |  |  | Y | 2 | 2024-04-11 | 2026-04-11 | 13.5667 | Lab | TL-24-1036 | OrchidCal | JS
| HY | (Spare ) Data Logger | HYDROTECHNIK | MS_01 | MS5060 3160-A2-70.00 | 1607 | NA |  |  | Y | 2 | 2023-05-08 | 2025-05-08 | 2.3 | Lab | EL-23-1065 | OrchidCal | JS
| HY | (Spare ) Data Logger | HYDROTECHNIK |  | MS5060 3160-A2-70.00 | 1624 | NA |  |  | Y | 2 | 2023-04-20 | 2025-04-19 | 1.6667 | Lab | 50091 | HYDROTECHNIK | JS
DCFR 78515-001_FOR_N_EN_2024-10-10 (Calibration Tooling & Measuring Equipment).xlsm | HY | Temperature Sensor | HYDROTECHNIK |  | TE100-3973-04-S-01.00S | 18186 | -50-200 C |  |  | Y | 2 | 2024-12-05 | 2026-12-05 | 21.5 | Lab | KS-T1853 | Key Solutions | JS
| HY | Digital caliper | MITUTOYO | VC _02 | CD-12" CP | 1065296 | 0-300 mm | ±0.03mm |  | Y | 2 | 2024-11-21 | 2026-11-21 | 21.0333 | Lab | CTD-2860M-24 | Key Solutions | JS
| HY | Digital caliper | MITUTOYO | VC _03 | CD-6"CSX | 12046073 | 0-150 mm | ±0.03mm |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | DL-24-1199 | OrchidCal | JS
| HY | Gear Flow Meter | Hydrotechnik |  | 3076-07-S-9A.030 | 27843 | 0-120 L/min |  |  | Y | 2 | 2024-05-28 | 2026-05-28 | 15.1333 | Lab | OR-24-1522 | OrchidCal | JS
| HY | Gear Flow Meter | Hydrotechnik |  | 3076-05-9B.030 | 30505 | 0-40 L/min |  |  | Y | 2 | 2024-05-28 | 2026-05-28 | 15.1333 | Lab | OR-24-1521 | OrchidCal | JS
| HY | Multimeter | FLUKE | BR_08 | Fluke 115 | 28290097WS | 600V |  |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | EL-24-1274 | OrchidCal | JS
| HY | Multimeter | FLUKE | BR_09 | Fluke 115 | 28290175WS | 600V |  |  | Y | 2 | 2024-11-28 | 2026-11-28 | 21.2667 | Lab | KS-E1349 | Key Solutions | JS
| HY | Particles Counter | HYDROTECHNIK | BR_10 | TKZ 3160-A0-76.00 | 300-1100H-000861 | 0-400BAR |  |  | Y | 2 | 2023-11-22 | 2025-11-22 | 8.9 | Lab | TKZ 3160-A0-76.00 | HYDROTECHNIK | JS
| HY | Pressure Sensor | HYDROTECHNIK | HS_01 | HySense PR100/3050 (PR100-3403-32-S-E5-33) | 2931213001 | HT-PD -1…..6bar |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1839 | Key Solutions | JS
| HY | Pressure Sensor | HYDROTECHNIK | HS_02 | HySense PR100/3050 (PR100-3403-32-S-E5-33) | 2931213002 | HT-PD -1…..6bar |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1840 | Key Solutions | JS
| HY | Pressure Sensor | HYDROTECHNIK | HS_03 | HySense PR100/3050 (PR100-3403-32-S-E5-33) | 2931213015 | HT-PD -1…..6bar |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1842 | Key Solutions | JS
| HY | Pressure Sensor | HYDROTECHNIK | HS-08 | PR100-3403-15-S-E5.33 | Z150089917 | 0-400Bar |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1847 | Key Solutions | JS
| HY | Pressure Sensor | HYDROTECHNIK | HS-06 | PR100-3403-10-S-E5.33 | Z150129899 | NA |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1845 | Key Solutions | JS
| HY | Pressure Sensor | HYDROTECHNIK | HS-07 | PR100-3403-10-S-E5.33 | Z150129900 | NA |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1844 | Key Solutions | JS
| HY | Pressure Sensor | HYDROTECHNIK | HS-04 | PR100-3403-32-S-E5.33 | Z160005742 | NA |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1841 | Key Solutions | JS
| HY | Pressure Sensor | HYDROTECHNIK | HS-05 | PR100-3403-32-S-E5.33 | Z160005753 | NA |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1843 | Key Solutions | JS
| HY | Pressure Sensor | HYDROTECHNIK | HS-11 | PR100-3403-18-S-E5.33 | Z160016174 | 0-600bar |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1846 | Key Solutions | JS
| HY | Pressure Transducer | HYDROTECHNIK |  | PR300-3403-18-S-E6.33 | 2530509265 | 600 bar |  |  | Y | 2 | 2024-11-25 | 2026-11-25 | 21.1667 | Lab | KS-P2028 | Key Solutions | JS
| HY | Pressure Transducer | HYDROTECHNIK |  | PR300-3403-10-S-E6.33 | 3260610066 | 200 bar |  |  | Y | 2 | 2024-11-25 | 2026-11-25 | 21.1667 | Lab | KS-P2029 | Key Solutions | JS
| HY | Pressure Transducer | Hydrotechnik | PR100 | 3403-18-S-E5.37 | Z220004134 | 0-600 bar |  |  | Y | 2 | 2024-08-26 | 2026-08-26 | 18.1333 | Lab | ML-24-1317 | OrchidCal | JS
| HY | Pressure Transducer | Hydrotechnik | PR100 | 3403-18-S-E5.37 | Z220004136 | 0-600 bar |  |  | Y | 2 | 2024-08-26 | 2026-08-26 | 18.1333 | Lab | ML-24-1316 | OrchidCal | JS
| HY | Flow meter | HYDROTECHNIK |  | HYSense QT 100 31V7-71-S-35.030L | 21102 | 9~300 L/min |  |  | Y | 2 | 2024-02-08 | 2026-02-07 | 11.4667 | Lab | 53754 | HYDROTECHNIK | JS
| HY | Sound Meter | ACEZ | BR_02 | AI320 | 121104822 | 30~ 130 dB |  |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | OR-24-2065 | OrchidCal | JS
| HY | IR thermometer | FLUKE | BR_07 | Fluke 62 mini | 15620875 | minus 30 to 500°C |  |  | Y | 2 | 2023-05-08 | 2025-05-08 | 2.3 | Lab | TL-23-1049 | OrchidCal | JS
| HY | Tachometer (non-contact) | SHIMPO | BR_05 | PH-200L | B1274511P | 6~99999 rpm |  |  | Y | 1 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-M1198 | Key Solutions | JS
| HY | Tachometer (non-contact) | SHIMPO | BR_04 | PH-200L | BB4B4502 | 6~99999 rpm |  |  | Y | 2 | 2023-03-13 | 2025-03-13 | 0.43333 | Lab | OR-23-1217 | OrchidCal | JS
| HY | Torque Wrench | ELORA | TW_05 | 2035-200 | 2009/211870 | 40-200 Nm | +/- 5% |  | Y | 2 | 2024-01-15 | 2026-01-15 | 10.7 | Lab | MPM 1035M-24 | Key Solutions | JS
| HY | Torque Wrench | Force |  | 6476850 | 369042 | 65-450 Nm (850mmL) | +/- 5% |  | Y | 2 | 2023-05-09 | 2025-05-09 | 2.3333 | Lab | OR-23-1383 | OrchidCal | JS
| HY | Torque Wrench | STAHLWILLE | TW_04 | MANOSKOP 730 | 100354017 | 80-400 Nm | +/- 5% |  | Y | 2 | 2024-01-22 | 2026-01-21 | 10.9 | Lab | MPM 1071M-24 | Key Solutions | JS
HY
HY
HY
| HY | (1) SSTB 135 Standard Service Test Bench 135KW (1.A) Digital : 11 units (1.B) Analog : 13 units (1.C) Flow Indicator/Digital Indicator : 4 units
| HY | (1.A) Digital - 11 units
| HY | (A.1) Pressure Sensor w/ Digital Indicator | REXROTH | pBoost 1 | HM20-21 | pBoost 1 | 0 to 50 bar, 4-20mA |  |  | Y | 2 | 2024-11-21 | 2026-11-21 | 21.0333 | In-House | KSO-P1356 | Key Solutions | JS
| HY | (A.2) Pressure Sensor w/ Digital Indicator | REXROTH | pL_1 | HM20-21 | pL_1 | 0 to 10 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1357 | Key Solutions | JS
| HY | (A.3) Pressure Sensor w/ Digital Indicator | REXROTH | PB_1 | HM20-21 | P-B1 | 0 to 630 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1354 | Key Solutions | JS
| HY | (A.4) Pressure Sensor w/ Digital Indicator | REXROTH | pY_3 | HM20-21 | PY-3 | 0 to 50 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1344 | Key Solutions | JS
| HY | (A.5) Pressure Sensor w/ Digital Indicator | REXROTH | pY_1 | HM20-21 | PY-1 | 0 to 50 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1345 | Key Solutions | JS
| HY | (A.6) Pressure Sensor w/ Digital Indicator | REXROTH | pHD_3 | HM20-21 | pHD_3 | 0 to 630 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1355 | Key Solutions | JS
| HY | (A.7) Pressure Sensor w/ Digital Indicator | REXROTH | pA_1 | HM20-21 | pA_1 | 0 to 630 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1375 | Key Solutions | JS
| HY | (A.8) Pressure Sensor w/ Digital Indicator | REXROTH | pG_1 | HM20-21 | pG_1 | 0 to 50 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1362 | Key Solutions | JS
| HY | (A.9) Pressure Sensor w/ Digital Indicator | REXROTH | pHF_1 | HM20-21 | pHF_1 | 0 to 630 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1363 | Key Solutions | JS
| HY | (A.10) Pressure Sensor w/ Digital Indicator | REXROTH | pX2_1 | HM20-21 | pX2_1 | 0 to 50 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1360 | Key Solutions | JS
| HY | (A.11) Pressure Sensor w/ Digital Indicator | REXROTH | pX1_1 | HM20-21 | pX1_1 | 0 to 50 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1358 | Key Solutions | JS
| HY | (1.B) Analog - 13 units
| HY | (B.1) Pressure Gauge | WIKA | PBoost1 |  | 5401CV5W | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1367 | Key Solutions | JS
| HY | (B.2) Pressure Gauge | WIKA | pHD_3 |  | 5401CV64 | 0 to 600 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1373 | Key Solutions | JS
| HY | (B.3) Pressure Gauge | WIKA | pB_1HP |  | 5401CV62 | 0 to 600 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1365 | Key Solutions | JS
| HY | (B.4) Pressure Gauge | WIKA | pA_1LP |  | 5401CV5T | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1366 | Key Solutions | JS
| HY | (B.5) Pressure Gauge | WIKA | pA_1HP |  | 5401CV65 | 0 to 600 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1364 | Key Solutions | JS
| HY | (B.6) Pressure Gauge | WIKA | pHPAUX |  | 5401CV63 | 0 to 600 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1368 | Key Solutions | JS
| HY | (B.7) Pressure Gauge | WIKA | pLPAUX |  | 5401CV5S | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1369 | Key Solutions | JS
| HY | (B.8) Pressure Gauge | WIKA | pTANK |  | 5401CV61 | 0 to 10 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1374 | Key Solutions | JS
| HY | (B.9) Pressure Gauge | WIKA | pY_3 |  | 5401CV5Z | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1370 | Key Solutions | JS
| HY | (B.10) Pressure Gauge | WIKA | pY_1A |  | 5401CV60 | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1371 | Key Solutions | JS
| HY | (B.11) Pressure Gauge | WIKA | pY_1B |  | 8803OCZF | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1372 | Key Solutions | JS
| HY | (B.12) Pressure Gauge | WIKA | pX1_1 |  | 8803OCZI | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1359 | Key Solutions | JS
| HY | (B.13) Pressure Gauge | WIKA | pX2_1 |  | 5401CV5V | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1361 | Key Solutions | JS
| HY | (1.C) Flow Indicator/Digital Indicator - 4 units
| HY | (C.1) Flow Indicator/Digital Indicator | KARL |  |  | 497963 | 0.1-15 l/min |  |  | Y | 2 | 2024-10-23 | 2026-10-23 | 20.0667 | In-House | 24-1228 | OrchidCal | JS
| HY | (C.2) Flow Indicator/Digital Indicator | KARL |  |  | 497964 | 0.3-45 l/min |  |  | Y | 2 | 2024-10-23 | 2026-10-23 | 20.0667 | In-House | 24-1227 | OrchidCal | JS
| HY | (C.3) Flow Indicator/Digital Indicator | KARL |  |  | 497962 | 3.5-525 l/min |  |  | Y | 2 | 2024-10-23 | 2026-10-23 | 20.0667 | In-House | 24-1226 | OrchidCal | JS
| HY | (C.4) Flow Indicator/Digital Indicator | KARL |  |  | 497965 | 0.3-45 l/min |  |  | Y | 2 | 2024-10-23 | 2026-10-23 | 20.0667 | In-House | 24-1225 | OrchidCal | JS
DCFR 78515-001_FOR_N_EN_2024-10-10 (Calibration Tooling & Measuring Equipment).xlsm | HY | (2) LHD TEST RIG (A) Pressure Gauge : 10 Units (B) Flow Meter, Pressure Tranducer, Probe : 9 Units
| HY | (2.A) PRESSURE GAUGE - 10 Units
| HY | (A.1) LHD Test Rig: Pressure Gauge | REXROTH | Charge Pressure CP | R900072011 | 11052737756 "CHARGE PRESSURE" CP | 0~60 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.53333 | In-House | AON-23-1027 | OrchidCal | JS
| HY | (A.2) LHD Test Rig: Pressure Gauge | REXROTH | Test Gauge A | R900066323 | "TEST GAUGE" A | 0~400 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.53333 | In-House | AON-23-1028 | OrchidCal | Tay
| HY | (A.3) LHD Test Rig: Pressure Gauge | REXROTH | Test Gauge B | R900066323 | 8973SRAA | 0~400 BAR |  |  | Y | 2 | 2024-08-26 | 2025-08-26 | 5.9667 | In-House | ML-24-1320 | OrchidCal
| HY | (A.4) LHD Test Rig: Pressure Gauge | REXROTH | Pressure B1 | R900066323 | "PRESSURE" B1 | 0~400 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.53333 | In-House | AON-23-1030 | OrchidCal | Tay
| HY | (A.5) LHD Test Rig: Pressure Gauge | REXROTH | Pressure A1 | R900066323 | 1105475215 "PRESSURE" A1 | 0~400 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.53333 | In-House | AON-23-1031 | OrchidCal | Tay
| HY | (A.6) LHD Test Rig: Pressure Gauge | REXROTH | Pressure A | R900066323 | "PRESSURE" A | 0~400 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.53333 | In-House | AON-23-1032 | OrchidCal | Tay
| HY | (A.7) LHD Test Rig: Pressure Gauge | REXROTH | Pressure C | R900066323 | 1105475215 "PRESSURE" C | 0~400 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.53333 | In-House | AON-23-1033 | OrchidCal | Tay
| HY | (A.8) LHD Test Rig: Pressure Gauge | CAPRI | Case Pressure D1 |  | "CASE PRESSURE" D1 | 0~20 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.53333 | In-House | AON-23-1034 | OrchidCal | Tay
| HY | (A.9) LHD Test Rig: Pressure Gauge | REXROTH | Brake Pressure | R900066324 | 014642190 "BRAKE PRESSURE" | 0~250 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.53333 | In-House | AON-23-1035 | OrchidCal | Tay
| HY | (A.10) LHD Test Rig: Pressure Gauge | WIKA | Charge |  | 150188001LW8 (CHARGE) | 0~60 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.53333 | In-House | AON-23-1036 | OrchidCal | Tay
| HY | (2.B) FLOW METER, PRESSURE TRANDUCER, PROBE - 9 Units
| HY | (B.1) LHD Test Rig: Flow meter | HYDROTECHNIK | QT 100 | 31V7-72-S-35.030 | 21319 | 0~600 L/min | +/- 5% |  | Y | 2 | 2022-02-16 | 2024-02-16 | -12.6 | In-House | OR-22-1037 | HYDROTECHNIK | JS
| HY | (B.2) LHD Test Rig: Flow meter | HYDROTECHNIK | QT 110 | HYSense QT 110 31G7-71-S-35.030 | 24919 | 9~300 L/min | +/- 5% |  | Y | 2 | 2024-02-08 | 2026-02-07 | 11.4667 | In-House | 53756 | HYDROTECHNIK | JS
| HY | (B.3) LHD Test Rig: Flow meter | HYDROTECHNIK | QT 100 | 31V7-72-S-35.030 | 33303 | 0~600 L/min | +/- 5% |  | Y | 2 | 2024-09-02 | 2026-09-02 | 18.3667 | In-House | OR-24-1931 | OrchidCal | JS
| HY | (B.4) LHD Test Rig: Pressure Transducer | HYDROTECHNIK | PR100 | 3403-15-S-E5.33 | 0051212199 | 0 ~ 400 BAR | ±1% |  | Y | 2 | 2024-01-10 | 2026-01-10 | 10.5333 | In-House | KS-P1787 | Key Solutions | JS
| HY | (B.5) LHD Test Rig: Pressure Transmitter | HYDROTECHNIK |  | 34P3-18-S-01.37A2 | 1325 | 0 ~ 600 BAR | ±0.25% |  | Y | 2 | 2024-08-26 | 2026-08-26 | 18.1333 | In-House | ML-24-1318 | OrchidCal | JS
| HY | (B.6) LHD Test Rig: Pressure Transmitter | HYDROTECHNIK |  | 34P3-18-S-01.37A2 | 1333 | 0 ~ 600 BAR | ±0.25% |  | Y | 2 | 2024-08-26 | 2026-08-26 | 18.1333 | In-House | ML-24-13193 | OrchidCal | JS
| HY | (B.7) LHD Test Rig: Temperature Probe with Indicator | HYDROTECHNIK |  | 34P3-18-S-01.37A2 | 18205 | (-50 ~ 200DegC) |  |  | Y | 2 | 2024-08-26 | 2026-08-26 | 18.1333 | In-House | TL-24-1124 | OrchidCal | JS
| HY | (B.8) LHD Test Rig: Flow meter | HYDROTECHNIK |  | HYSense QT 100 31V7-72-S-35.030 | 24393 | 16~600 L/min | +/- 5% |  | Y | 2 | 2024-02-08 | 2026-02-07 | 11.4667 | In-House | 53755 | HYDROTECHNIK | JS
| HY | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL)
| HY | (3.A) VALVE TEST BENCH - 6 Units (ST Engineering's Job)
| HY | (3.A.1) Valve Test Bench: Pressure Gauge | WIKA | MAIN | 233.50.160 | 8972X5XX | 0~600 BAR |  |  | Y | 1 | 2024-11-28 | 2025-11-28 | 9.1 | In-House | KSO-P1350 | Key Solutions | JS
| HY | (3.A.2) Valve Test Bench: Pressure Gauge | WIKA | PILOT | 233.50.160 | 8972X5XV | 0~250 BAR |  |  | Y | 1 | 2024-11-28 | 2025-11-28 | 9.1 | In-House | KSO-P1351 | Key Solutions | JS
| HY | (3.A.3) Valve Test Bench: Pressure Gauge | WIKA | A | 233.50.160 | 8972X5XY | 0~600 BAR |  |  | Y | 1 | 2024-11-28 | 2025-11-28 | 9.1 | In-House | KSO-P1347 | Key Solutions | JS
| HY | (3.A.4) Valve Test Bench: Pressure Gauge | WIKA | B | 233.50.160 | 8972X5XW | 0~600 BAR |  |  | Y | 1 | 2024-11-28 | 2025-11-28 | 9.1 | In-House | KSO-P1346 | Key Solutions | JS
| HY | (3.A.5) Valve Test Bench: Pressure Gauge | WIKA | C | 213.53.100 | 880216XN | 0~600 BAR |  |  | Y | 1 | 2024-11-28 | 2025-11-28 | 9.1 | In-House | KSO-P1348 | Key Solutions | JS
| HY | (3.A.6) Valve Test Bench: Pressure Gauge | WIKA | D | 213.53.100 | 880216XM | 0~600 BAR |  |  | Y | 1 | 2024-11-28 | 2025-11-28 | 9.1 | In-House | KSO-P1349 | Key Solutions | JS
| HY | (3.B) VALVE + HPU TEST BENCH - 5 Units (ST Engineering's Job)
| HY | (3.B.1) Valve & HPU Test Bench: Pressure Gauge | REXROTH | A | R900066323 | 5402PDBG | 0 ~ 400 BAR |  |  | Y | 1 | 2025-01-03 | 2026-01-03 | 10.3 | In-House | KSO-P1396 | Key Solutions | JS
| HY | (3.B.2) Valve & HPU Test Bench: Pressure Gauge | REXROTH | B | R900066323 | 54024G38 | 0 ~ 400 BAR |  |  | Y | 1 | 2025-01-03 | 2026-01-03 | 10.3 | In-House | KSO-P1397 | Key Solutions | JS
| HY | (3.B.3) Valve & HPU Test Bench: Pressure Gauge | REXROTH | C | R900066323 | 54024G3A | 0 ~ 400 BAR |  |  | Y | 1 | 2025-01-03 | 2026-01-03 | 10.3 | In-House | KSO-P1398 | Key Solutions | JS
| HY | (3.B.4) Valve & HPU Test Bench: Pressure Gauge | REXROTH | Pump 1 | R900066323 | 5402PDAZ | 0 ~ 400 BAR |  |  | Y | 1 | 2025-01-03 | 2026-01-03 | 10.3 | In-House | KSO-P399 | Key Solutions | JS
| HY | (3.B.5) Valve & HPU Test Bench: Pressure Gauge | REXROTH | Pump 2 | R900066323 | 5402PDCO | 0 ~ 400 BAR |  |  | Y | 1 | 2025-01-03 | 2026-01-03 | 10.3 | In-House | KSO-P1400 | Key Solutions | JS
| HY | (3.C) TOOLING FOR ST ENGINEERING'S JOB USES
| HY | (3.C.1) Torque Wrench | STAHLWILLE |  | 730/30 Quick | 224098609 | 60-300 N-m, 50-220 ft-ib |  |  | Y | 1 | 2024-03-04 | 2025-03-04 | 0.13333 | Lab | 654064 | OrchidCal | RC
| HY | (3.C.2) Torque Wrench | STAHLWILLE |  | 730/30 Quick | 124101300 | 60-300 N-m, 50-220 ft-ib |  |  | Y | 1 | 2024-03-05 | 2025-03-05 | 0.16667 | Lab | 654561 | OrchidCal | RC
| HY | (3.C.3) Torque Wrench | STAHLWILLE |  | Manoskop 730/5 Quick | 124059250 | 6-50 N-m, 5-36 ft-ib |  |  | Y | 1 | 2024-12-24 | 2025-12-24 | 9.9667 | Lab | CTP 1911M-24 | Key Solutions | RC
| HY | (3.C.4) Torque Wrench | STAHLWILLE |  | Manoskop 730/5 Quick | 224051383 | 6-50 N-m, 5-36 ft-ib | +/- 5% |  | Y | 1 | 2024-12-24 | 2025-12-24 | 9.9667 | Lab | CTP 1912M-24 | Key Solutions | RC
HY
| HY | (3.D) FLOWMETER FOR ST ENGINEERING'S JOB USES
| HY | (3.D.1) Flowmeter | AW-LAKE | Asset No: 100624.3 | B4A-6HC-30 (¾” NPT (Female)) | I91310324 | 15 to 120 LPM | +/- 5% |  |  | 1 | 2025-01-18 | 2026-01-18 | 10.8 | Lab | ASTC25/1239 | Key Solutions
| HY | (3.D.2) Flowmeter | AW-LAKE | Asset No: 100624 | B3A-6HT-15 (½” BSP) | E49640521 | 5 to 55 LPM | +/- 5% |  |  | 1 | 2025-01-18 | 2026-01-18 | 10.8 | Lab | ASTC25/1240 | Key Solutions
| HY | (3.D.3) Flowmeter | AW-LAKE | Asset No: 100624 | B3A-6HR-02 (3/8” BSP) | J52380924 | 240 bar | +/- 5% |  |  | 1 | 2025-01-18 | 2026-01-18 | 10.8 | Lab | ASWO25/1114 | Key Solutions
DCFR 78515-001_FOR_N_EN_2024-10-10 (Calibration Tooling & Measuring Equipment).xlsm | Div. | Description | Brand (Make) | Tag | Model/Part No | Serial / Id no | Range | Tolerence Limit |  | In USE? (Y=Yes; N=No) | Actual Calibration Interval (No. of Yr) | Last Calibration | Calibration Due | Remaining mths before Calibration due date | 1. External Cal: In-House / Lab | Calibration Report Number | Calibrator | P.I.C. | Action for Renewal Reminder
[8 empty] | External | Internal | [5 empty] | 2. Internal Cal
| LOG | Electronic Weighing Scale (3 Tons) | A&D Weighing | - | AD-4328 Weighing Indicator | K4610230 | 3000KG x 1KG |  |  | Y | 1 | 2024-09-05 | 2025-09-05 | 6.3 | In-House | 168598 | CM Specialist Pte Ltd #97372433 | M.H.
TOOLING WITHOUT NEED FOR CALIBRATION - FOR ROUGH MEASUREMENT USE ONLY
| Div. | Description | Brand (Make) | Tag | Model/Part No | Serial / Id no | Range | Tolerence Limit |  | In USE? (Y=Yes; N=No) | Actual Calibration Interval (No. of Yr) | Last Calibration | Calibration Due | Remaining mths before Calibration due date | 1. External Cal: In-House / Lab | Calibration Report Number | Calibrator | P.I.C. | Action for Renewal Reminder
[8 empty] | External | Internal | [5 empty] | 2. Internal Cal
| FA | Vernier caliper | Hengliang |  |  |  | 2500 mm |  |  | Y | 2 |  |  | - | N.A |  | Key Solutions | RK
| FA | Mahr Portable Roughness Checker | MAHR | [6 empty] | Y | 2 |  |  | - | N.A. |  |  | RK
| FA | DUNKES Hydraulic Straightening Press, sensitively controlled Type | Dunkes | 100554 (ICC BASA L2) | HR 25 | H22-3756 | - |  |  | Y | 2 |  |  | - | N.A. |  | DCSG Internal Calibration (Refer DCPD 50310-010) | RK
| LOG | Azano Electronic Platform Scale | Azono | - | VC-50 | 12E201109004 | 60KG X 0.01KG |  |  | Y | 1 | 2024-06-14 | 2025-06-14 | 3.5333 | N.A. | 167364 | CM Specialist Pte Ltd #97372433 | M.H.
| BOSCH REXROTH PTE LTD | [17 empty] | Created: DCEA/QMM-SG
| 16D Tuas Avenue 1, #05-60/62, Singapore 639536 | [17 empty] | Revised: DCEA/QMM-SG
Formulas:
Calibration Due = [Last Calibration]+([Actual Calibration Interval (No. of Yr)]*365)
Calibration Due = [Last Calibration]+([Actual Calibration Interval (No. of Yr)]*365)+1