## Cleaned_Bosch_Dataset
div | description | standard | category | brand | tag | modelPartNo | serialIdNo | range | externalToleranceLimit | internalTolerenceLimit | inUse | calibrationInterval | lastCalibration | calibrationDue | remainingMths | externalCal | calibrationReportNumber | calibrator | pic | actionForRenewalReminder
FA | Blade Micrometer |  |  | Hengliang |  | 691-101A | 264988AS | 0-25mm |  |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | DL-24-1200 | OrchidCal | RK
FA | Blade Micrometer |  |  | Hengliang |  | 691-102A | 267754Bx | 25-50mm |  |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5 | Lab | CTD 2964M-24 | Key Solutions | RK
FA | Dial Comparator |  |  | MAHR | NIL | 865 SE | 81052170Cy | 0 - 0.1mm |  |  | Y | 2 | 2023-08-01 | 2025-08-01 | 5.1 | Lab | DL-23-1109 | OrchidCal | RK
FA | Dial Push Pull Gauge |  |  | AIKOH | NIL | ANF-500N | 126881Di | 0 - 50kgf |  |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5 | Lab | CTP 1857M-24 | Key Solutions | RK
FA | Dial Test Indicators |  |  | MAHR |  | MarTest 800 SGM | 22050743Eu | +/-0.1mm |  |  | Y | 2 | 2025-01-07 | 2027-01-07 | 22.6 | Lab | CTD 1023M-25 | Key Solutions | RK
FA | Dial Test Indicator |  |  | MAHR | NIL | MarTest 800 SGM | 91030861FO | 0 - 0.2mm |  |  | Y | 2 | 2023-08-01 | 2025-05-01 | 2 | Lab | DL-23-1110 | OrchidCal | RK
FA | Dial Test Indicator |  |  | MITUTOYO | NIL | 2046F | DAS567G5 | 0 - 10mm |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2480M-23 | Key Solutions | RK
FA | Dial Test Indicator |  |  | MITUTOYO | NIL | 513-404 | FGS562Hh | 0 - 0.8mm |  |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5 | Lab | CTD 2962M-24 | Key Solutions | RK
FA | Dial Test Indicator |  |  | MITUTOYO | NIL | 513-405 | FRV538I9 | 0 - 0.2mm |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2481M-23 | Key Solutions | RK
FA | Dial Test Indicator |  |  | MITUTOYO | NIL | 513-404 | YMT956JN | 0 - 0.8mm |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2482M-23 | Key Solutions | RK
FA | Digimatic Offset Centerline Caliper (Digimatic Caliper) |  |  | Sanliang |  | 119-331 | 2050302Kv | 0-200mm | Â±0.03mm |  | Y | 2 | 2025-01-07 | 2027-01-07 | 22.6 | Lab | CTD 1022M-25 | Key Solutions | RK
FA | Digimatic Caliper |  |  | MITUTOYO |  | CD-8" ASX | A22218329Lt | 0-200mm | Â±0.03mm |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5 | Lab | CTD 2960M-24 | Key Solutions | RK
FA | Digital Vernier Caliper |  |  | HOLEX | Nil | 41 2821 150 | H1493446Md | 0-150mm | Â±0.02mm |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5 | Lab | CTD 2959M-24 | Key Solutions | RK
FA | Digimatic Caliper |  |  | MITUTOYO |  | CD-P15S (500-702-20) | B23383021N8 | 0.01-150MM | Â±0.03mm |  | Y | 2 | 2024-05-28 | 2026-05-28 | 15.1 | Lab | DL-24-1110 | OrchidCal | RK
FA | Digimatic Depth Gauge |  |  | Hengliang |  | 550-103-1 | 9072877Ou | 0-300mm |  |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5 | Lab | CTD 2961M-24 | Key Solutions | RK
FA | Digimatic Offset Centerline Caliper |  |  | MITUTOYO | NIL | NTD10P-15PMX | 2868Pq | 10-160MM/0.01MM | Â±0.03mm |  | Y | 2 | 2023-05-06 | 2025-05-06 | 2.2 | Lab | DL-23-1084 | OrchidCal | RK
FA | Digimatic Offset Centerline Caliper |  |  | MITUTOYO |  | NTD10P-6"PMX, (573-705) | 136QT | 0.4-6"/10-160MM | Â±0.03mm |  | Y | 2 | 2024-05-28 | 2026-05-28 | 15.1 | Lab | DL-24-1111 | OrchidCal | RK
FA | Digital Caliper |  |  | MITUTOYO | Nil | 500-704-20 | 22858Ri | 0-300mm | Â±0.03mm |  | Y | 2 | 2023-08-01 | 2025-08-01 | 5.1 | Lab | DL-23-1106 | OrchidCal | RK
FA | Digital Caliper |  |  | MITUTOYO | NIL | 500-173 | 1022090SZ | 0 - 300mm | Â±0.03mm |  | Y | 2 | 2023-03-13 | 2025-03-13 | 0.4 | Lab | DL-23-1063 | OrchidCal | RK
FA | Digital Caliper |  |  | MITUTOYO | NIL | 505-673 | 7502979TO | 0 - 300mm | Â±0.03mm |  | Y | 2 | 2023-03-13 | 2025-03-13 | 0.4 | Lab | DL-23-1062 | OrchidCal | RK
FA | Digital Caliper |  |  | TESA |  | IP67 | IG028811Ug | 0-300mm | Â±0.03mm |  | Y | 2 | 2024-05-28 | 2026-05-28 | 15.1 | Lab | DL-24-1109 | OrchidCal | RK
FA | Digital Force Gauge |  |  | IMADA | 100557 | DST-5N | 462487Ve | 0 - 5N |  |  | Y | 2 | 2023-08-01 | 2025-08-01 | 5.1 | Lab | OR-23-1576 | OrchidCal | RK
FA | Digital Micrometer c/w Setting Rod |  |  | MITUTOYO | NIL | 293-762-30 | 1278637/1056687Wr | 1 - 2" |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2479M-23 | Key Solutions | RK
FA | Micrometer External c/w Setting Rod |  |  | MITUTOYO | NIL | - | 1285541 / 1080438Xz | 25 - 50mm |  |  | Y | 2 | 2024-01-12 | 2026-01-12 | 10.6 | Lab | MPD 1038M-24 | Key Solutions | RK
FA | Micrometer Digital |  |  | MITUTOYO | NIL | 103-137 | 2002591Y0 | 0 - 25mm |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2476M-23 | Key Solutions | RK
FA | Digital Micrometer |  |  | MITUTOYO | NIL | 293-761-30 | 2130910Z0 | 0 - 25.4mm |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2478M-23 | Key Solutions | RK
FA | Digital Micrometer |  |  | MITUTOYO | NIL | 293-340 | 85020808AA | 0 - 25.4mm |  |  | Y | 2 | 2023-07-04 | 2025-07-04 | 4.2 | Lab | MPD 2477M-23 | Key Solutions | RK
FA | Granite Surface Plate |  |  | OPUS | NIL | 517-313 | 103001BT | 1500mmx1000mm |  |  | Y | 2 | 2023-03-30 | 2025-03-30 | 1 | Lab | TP-23-1038 | Opus Precision | RK
FA | Granite Surface Plate |  |  | OPUS | NIL |  | 1305306Cj | 630mmx400mm |  |  | Y | 2 | 2023-06-28 | 2025-07-28 | 5 | Lab | MDF230306-1 | Key Solutions | RK
FA | Granite Surface Plate |  |  | PREMIUM | - | - | T1818618Dx | 1500mmx300mm |  |  | Y | 2 | 2023-03-30 | 2025-03-30 | 1 | Lab | TP-23-1039 | Opus Precision | RK
FA | Mahr Dial comparator (Micro Indicator) |  |  | MAHR |  | Millimess 1003 | 22050844Er | +/-50umm |  |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5 | Lab | CTD 2965M-24 | Key Solutions | RK
FA | Mahr Dial comparator (Micro Indicator) |  |  | MAHR |  | Millimess 1003 | 22050857Fe | +/-50umm |  |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | DL-24-1202 | OrchidCal | RK
FA | Inner groove width digital caliper |  |  | Hengliang |  | 365-101 | 2208230055Gu | 0-150mm | Â±0.03mm |  | Y | 2 | 2024-12-06 | 2026-12-06 | 21.5 | Lab | CTD 2963M-24 | Key Solutions | RK
FA | Mahr Dial comparator (Micro Indicator) |  |  | MAHR |  | Millimess 1003 | 91070519HR | +/-50umm |  |  | Y | 2 | 2025-01-07 | 2027-01-07 | 22.6 | Lab | CTD 1025M-25 | Key Solutions | RK
FA | Mahr Dial comparator (Micro Indicator) |  |  | MAHR |  | Millimess 1003 | 91070630Ia | +/-50umm |  |  | Y | 2 | 2025-01-07 | 2027-01-07 | 22.6 | Lab | CTD 1024M-25 | Key Solutions | RK
FA | Precision Square |  |  | Preisser | NIL | 388204 | 20874008JR | 100X70MM | Â±0.5mm |  | Y | 2 | 2023-08-01 | 2025-08-01 | 5.1 | Lab | DL-23-1107 | OrchidCal | RK
FA | Precision Square |  |  | ECE | NIL | Earth-Chain ETW-304 | 91070519H0 | 100X70MM | Â±0.5mm |  | Y | 2 | 2023-08-01 | 2025-05-01 | 2 | Lab | DL-23-1108 | OrchidCal | RK
FA | Fluke Multimeter |  |  | FLUKE |  | 789 | 59690035KL | - | 0.09% +2 |  | Y | 2 | 2023-04-20 | 2025-04-20 | 1.7 | Lab | EL-23-1053 | OrchidCal | RK
FA | Torque Wrench |  |  | TOHNICHI | NIL | QL50N | 034108B1i | 10-50 Nm | +/- 5% |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | OR-24-2064 | OrchidCal | RK
FA | Torque Wrench |  |  | TOHNICHI | NIL | QL12N4 | 061411Y2G | 2 - 12 Nm | +/- 5% |  | Y | 2 | 2023-07-05 | 2025-07-05 | 4.2 | Lab | MPM 1989M-23 | Key Solutions | RK
FA | Torque Wrench |  |  | TOHNICHI | NIL | QL50N | 070483Y33 | 10-50 Nm | +/- 5% |  | Y | 2 | 2024-12-10 | 2026-12-10 | 21.6 | Lab | CTP 1865M-24 | Key Solutions | RK
FA | Torque Wrench |  |  | KANON | NIL | 700TMK | 106057LA | 100-700kgf.cm | +/- 5% |  | Y | 2 | 2023-07-05 | 2025-07-05 | 4.2 | Lab | MPM 1990M-23 | Key Solutions | RK
FA | Torque Wrench |  |  | STAHLWILLE | NIL | Manoskop Nr.730/10 | 101149046MK | 20-100 Nm | +/- 5% |  | Y | 2 | 2025-01-07 | 2027-01-07 | 22.6 | Lab | CTP 1015M-25 | Key Solutions | RK
FA | Torque Wrench |  |  | STAHLWILLE |  | Serie Manoskop 730N | 121042729Nu | 20-100 Nm | +/- 5% |  | Y | 2 | 2024-12-10 | 2026-12-10 | 21.6 | Lab | CTP 1866M-24 | Key Solutions | RK
FA | True RMS Clamp Meter (Fluke Multimeter) |  |  | FLUKE |  | FLUKE 325 | 59330011WSOc | - | 1% Â±5 count |  | Y | 2 | 2025-01-07 | 2027-01-07 | 22.6 | Lab | KS-E1366 | Key Solutions | RK
FA | Torque Bench Machine |  |  | DC/LT-DE | 100553 (ICC BASA L2) | Torque Test For ICC | 2022.22569PL | - |  | <=0.05Nm | Y | 2 | 2024-10-07 | 2026-10-07 | 19.5 | Internal Calibration | As per attached | DCSG Internal Calibration (Refer DCPD 50310-010) | RK
HY | Dial Indicator / Gauge |  |  | MITUTOYO |  | 2046F | 4.67E+15Q7 | 0-10 mm |  |  | Y | 2 | 2024-11-21 | 2026-11-21 | 21 | Lab | CTD 2861M-24 | Key Solutions
HY | Clamp meter |  |  | FLUKE | BR_01 | Fluke 337 | 8311089Re | multi range |  |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | EL-24-1275 | OrchidCal | JS
HY | Clamp meter |  |  | FLUKE | BR_06.1 | Fluke 324 | 37980571WS SH | - |  |  | Y | 2 | 2023-03-13 | 2025-03-13 | 0.4 | Lab | EL-23-1044 | OrchidCal | JS
HY | (HT Package #1) Data Logger |  |  | HYDROTECHNIK | MS_04 | MS5060 3160-A0-79 | 2600TO |  |  |  | Y | 2 | 2023-05-08 | 2025-05-08 | 2.3 | Lab | EL-23-1064 | OrchidCal | JS
HY | (HT Package #1) Flowmeter + Sensor |  |  | HYDROTECHNIK | FM_04 | RE4-600 31V7-72-S-35.030 | 24359 / 21146UQ | 600 l/min |  |  | Y | 2 | 2023-05-06 | 2025-05-06 | 2.2 | Lab | OR-23-1382 | OrchidCal | JS
HY | (HT Package #1) Pressure Transducer |  |  | HYDROTECHNIK | PR100 | 3403-18-S-E5.37 | Z220004141VH | 0-600 bar |  |  | Y | 2 | 2023-05-08 | 2025-05-08 | 2.3 | Lab | ML-23-1193 | OrchidCal | JS
HY | (HT Package #1) Temperature Probe |  |  | HYDROTECHNIK | RR_06 | 3973-04-S-01.00S | 13855WA | minus 50 to 200Â°C |  |  | Y | 2 | 2023-05-08 | 2025-05-08 | 2.3 | Lab | TL-23-1048 | OrchidCal | JS
HY | (HT Package #2) Data Logger |  |  | HYDROTECHNIK | MS_02 | MS5060 3160-A2-70.00 | 1593Xe |  |  |  | Y | 2 | 2024-04-11 | 2026-04-11 | 13.5 | Lab | EL-24-1048 | OrchidCal | JS
HY | (HT Package #2) Flowmeter + Sensor |  |  | HYDROTECHNIK | FM_05 | RE4-300 31V7-71-S-35.030 | 23940 / 12733YN | 9 to 300 l/ min |  |  | Y | 2 | 2024-04-13 | 2026-04-13 | 13.6 | Lab | OR-24-1331 | OrchidCal | JS
HY | (HT Package #2) Pressure Transducer |  |  | HYDROTECHNIK | PT_10 | PR300-3403-18-S-71.33A | 7614ZK | 0-600 bar |  |  | Y | 2 | 2024-04-11 | 2026-04-11 | 13.5 | Lab | TL-24-1137 | OrchidCal | JS
HY | (HT Package #2) Temperature Probe |  |  | HYDROTECHNIK | RR_07 | TE110 | 13476AK | minus 50 to 200Â°C |  |  | Y | 2 | 2024-04-11 | 2026-04-11 | 13.5 | Lab | TL-24-1035 | OrchidCal | JS
HY | (HT Package #3) Data Logger |  |  | HYDROTECHNIK | MS_03 | MS5060Plus 3160-A0-79.00 | 2683B3 |  |  |  | Y | 2 | 2024-04-11 | 2026-04-11 | 13.5 | Lab | EL-24-1049 | OrchidCal | JS
HY | (HT Package #3) Flowmeter + Sensor |  |  | HYDROTECHNIK | FM_06 | HySense QT 100 ISDS | 30387 / 44365CY | 300 l/ min |  |  | Y | 2 | 2024-04-13 | 2026-04-13 | 13.6 | Lab | OR-24-1332 | OrchidCal | JS
HY | (HT Package #3) Pressure Transducer |  |  | HYDROTECHNIK | PT_11 | PR300-3403-10-S-71.33A | 7587DQ | 200 bar |  |  | Y | 2 | 2024-04-11 | 2026-04-11 | 13.5 | Lab | ML-24-1138 | OrchidCal | JS
HY | (HT Package #3) Temperature Probe |  |  | HYDROTECHNIK | RR_08 | PT100 | 16763Es | minus 50 to 200Â°C |  |  | Y | 2 | 2024-04-11 | 2026-04-11 | 13.5 | Lab | TL-24-1036 | OrchidCal | JS
HY | (Spare ) Data Logger |  |  | HYDROTECHNIK | MS_01 | MS5060 3160-A2-70.00 | 1607FW |  |  |  | Y | 2 | 2023-05-08 | 2025-05-08 | 2.3 | Lab | EL-23-1065 | OrchidCal | JS
HY | (Spare ) Data Logger |  |  | HYDROTECHNIK |  | MS5060 3160-A2-70.00 | 1624GO |  |  |  | Y | 2 | 2023-04-20 | 2025-04-19 | 1.6 | Lab | 50091 | HYDROTECHNIK | JS
HY | Temperature Sensor |  |  | HYDROTECHNIK |  | TE100-3973-04-S-01.00S | 18186Hd | -50-200 C |  |  | Y | 2 | 2024-12-05 | 2026-12-05 | 21.5 | Lab | KS-T1853 | Key Solutions | JS
HY | Digital caliper |  |  | MITUTOYO | VC _02 | CD-12" CP | 1065296IO | 0-300 mm | Â±0.03mm |  | Y | 2 | 2024-11-21 | 2026-11-21 | 21 | Lab | CTD-2860M-24 | Key Solutions | JS
HY | Digital caliper |  |  | MITUTOYO | VC _03 | CD-6"CSX | 12046073JX | 0-150 mm | Â±0.03mm |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | DL-24-1199 | OrchidCal | JS
HY | Gear Flow Meter |  |  | Hydrotechnik |  | 3076-07-S-9A.030 | 27843Kh | 0-120 L/min |  |  | Y | 2 | 2024-05-28 | 2026-05-28 | 15.1 | Lab | OR-24-1522 | OrchidCal | JS
HY | Gear Flow Meter |  |  | Hydrotechnik |  | 3076-05-9B.030 | 30505LM | 0-40 L/min |  |  | Y | 2 | 2024-05-28 | 2026-05-28 | 15.1 | Lab | OR-24-1521 | OrchidCal | JS
HY | Multimeter |  |  | FLUKE | BR_08 | Fluke 115 | 28290097WSMo | 600V |  |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | EL-24-1274 | OrchidCal | JS
HY | Multimeter |  |  | FLUKE | BR_09 | Fluke 115 | 28290175WSNl | 600V |  |  | Y | 2 | 2024-11-28 | 2026-11-28 | 21.2 | Lab | KS-E1349 | Key Solutions | JS
HY | Particles Counter |  |  | HYDROTECHNIK | BR_10 | TKZ 3160-A0-76.00 | 300-1100H-000861OI | 0-400BAR |  |  | Y | 2 | 2023-11-22 | 2025-11-22 | 8.9 | Lab | TKZ 3160-A0-76.00 | HYDROTECHNIK | JS
HY | Pressure Sensor |  |  | HYDROTECHNIK | HS_01 | HySense PR100/3050 (PR100-3403-32-S-E5-33) | 2931213001Pf | HT-PD -1â€¦..6bar |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1839 | Key Solutions | JS
HY | Pressure Sensor |  |  | HYDROTECHNIK | HS_02 | HySense PR100/3050 (PR100-3403-32-S-E5-33) | 2931213002Qq | HT-PD -1â€¦..6bar |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1840 | Key Solutions | JS
HY | Pressure Sensor |  |  | HYDROTECHNIK | HS_03 | HySense PR100/3050 (PR100-3403-32-S-E5-33) | 2931213015Re | HT-PD -1â€¦..6bar |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1842 | Key Solutions | JS
HY | Pressure Sensor |  |  | HYDROTECHNIK | HS-08 | PR100-3403-15-S-E5.33 | Z150089917SU | 0-400Bar |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1847 | Key Solutions | JS
HY | Pressure Sensor |  |  | HYDROTECHNIK | HS-06 | PR100-3403-10-S-E5.33 | Z150129899TW |  |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1845 | Key Solutions | JS
HY | Pressure Sensor |  |  | HYDROTECHNIK | HS-07 | PR100-3403-10-S-E5.33 | Z150129900Uw |  |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1844 | Key Solutions | JS
HY | Pressure Sensor |  |  | HYDROTECHNIK | HS-04 | PR100-3403-32-S-E5.33 | Z160005742VE |  |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1841 | Key Solutions | JS
HY | Pressure Sensor |  |  | HYDROTECHNIK | HS-05 | PR100-3403-32-S-E5.33 | Z160005753WW |  |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1843 | Key Solutions | JS
HY | Pressure Sensor |  |  | HYDROTECHNIK | HS-11 | PR100-3403-18-S-E5.33 | Z160016174Xu | 0-600bar |  |  | Y | 2 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-P1846 | Key Solutions | JS
HY | Pressure Transducer |  |  | HYDROTECHNIK |  | PR300-3403-18-S-E6.33 | 2530509265YR | 600 bar |  |  | Y | 2 | 2024-11-25 | 2026-11-25 | 21.1 | Lab | KS-P2028 | Key Solutions | JS
HY | Pressure Transducer |  |  | HYDROTECHNIK |  | PR300-3403-10-S-E6.33 | 3260610066ZY | 200 bar |  |  | Y | 2 | 2024-11-25 | 2026-11-25 | 21.1 | Lab | KS-P2029 | Key Solutions | JS
HY | Pressure Transducer |  |  | Hydrotechnik | PR100 | 3403-18-S-E5.37 | Z220004134Ak | 0-600 bar |  |  | Y | 2 | 2024-08-26 | 2026-08-26 | 18.1 | Lab | ML-24-1317 | OrchidCal | JS
HY | Pressure Transducer |  |  | Hydrotechnik | PR100 | 3403-18-S-E5.37 | Z220004136Bw | 0-600 bar |  |  | Y | 2 | 2024-08-26 | 2026-08-26 | 18.1 | Lab | ML-24-1316 | OrchidCal | JS
HY | Flow meter |  |  | HYDROTECHNIK |  | HYSense QT 100 31V7-71-S-35.030L | 21102CJ | 9~300 L/min |  |  | Y | 2 | 2024-02-08 | 2026-02-07 | 11.4 | Lab | 53754 | HYDROTECHNIK | JS
HY | Sound Meter |  |  | ACEZ | BR_02 | AI320 | 121104822D8 | 30~ 130 dB |  |  | Y | 2 | 2024-10-12 | 2026-10-12 | 19.7 | Lab | OR-24-2065 | OrchidCal | JS
HY | IR thermometer |  |  | FLUKE | BR_07 | Fluke 62 mini | 1560000000 | minus 30 to 500Â°C |  |  | Y | 2 | 2023-05-08 | 2025-05-08 | 2.3 | Lab | TL-23-1049 | OrchidCal | JS
HY | Tachometer (non-contact) |  |  | SHIMPO | BR_05 | PH-200L | B1274511PFR | 6~99999 rpm |  |  | Y | 1 | 2024-04-12 | 2026-04-12 | 13.6 | Lab | KS-M1198 | Key Solutions | JS
HY | Tachometer (non-contact) |  |  | SHIMPO | BR_04 | PH-200L | BB4B4502Gh | 6~99999 rpm |  |  | Y | 2 | 2023-03-13 | 2025-03-13 | 0.4 | Lab | OR-23-1217 | OrchidCal | JS
HY | Torque Wrench |  |  | ELORA | TW_05 | 2035-200 | 2009/211870HT | 40-200 Nm | +/- 5% |  | Y | 2 | 2024-01-15 | 2026-01-15 | 10.7 | Lab | MPM 1035M-24 | Key Solutions | JS
HY | Torque Wrench |  |  | Force |  | 6476850 | 369042I2 | 65-450 Nm (850mmL) | +/- 5% |  | Y | 2 | 2023-05-09 | 2025-05-09 | 2.3 | Lab | OR-23-1383 | OrchidCal | JS
HY | Torque Wrench |  |  | STAHLWILLE | TW_04 | MANOSKOP 730 | 100354017J2 | 80-400 Nm | +/- 5% |  | Y | 2 | 2024-01-22 | 2026-01-21 | 10.9 | Lab | MPM 1071M-24 | Key Solutions | JS
HY | (A.1) Pressure Sensor w/ Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.A) Digital : 11 units | REXROTH | pBoost 1 | HM20-21 | pBoost 1KM | 0 to 50 bar, 4-20mA |  |  | Y | 2 | 2024-11-21 | 2026-11-21 | 21 | In-House | KSO-P1356 | Key Solutions | JS
HY | (A.2) Pressure Sensor w/ Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.A) Digital : 11 units | REXROTH | pL_1 | HM20-21 | pL_1Lm | 0 to 10 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1357 | Key Solutions | JS
HY | (A.3) Pressure Sensor w/ Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.A) Digital : 11 units | REXROTH | PB_1 | HM20-21 | P-B1MW | 0 to 630 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1354 | Key Solutions | JS
HY | (A.4) Pressure Sensor w/ Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.A) Digital : 11 units | REXROTH | pY_3 | HM20-21 | PY-3Nk | 0 to 50 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1344 | Key Solutions | JS
HY | (A.5) Pressure Sensor w/ Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.A) Digital : 11 units | REXROTH | pY_1 | HM20-21 | PY-1OT | 0 to 50 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1345 | Key Solutions | JS
HY | (A.6) Pressure Sensor w/ Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.A) Digital : 11 units | REXROTH | pHD_3 | HM20-21 | pHD_3Pq | 0 to 630 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1355 | Key Solutions | JS
HY | (A.7) Pressure Sensor w/ Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.A) Digital : 11 units | REXROTH | pA_1 | HM20-21 | pA_1Qn | 0 to 630 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1375 | Key Solutions | JS
HY | (A.8) Pressure Sensor w/ Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.A) Digital : 11 units | REXROTH | pG_1 | HM20-21 | pG_1RW | 0 to 50 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1362 | Key Solutions | JS
HY | (A.9) Pressure Sensor w/ Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.A) Digital : 11 units | REXROTH | pHF_1 | HM20-21 | pHF_1S3 | 0 to 630 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1363 | Key Solutions | JS
HY | (A.10) Pressure Sensor w/ Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.A) Digital : 11 units | REXROTH | pX2_1 | HM20-21 | pX2_1Th | 0 to 50 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1360 | Key Solutions | JS
HY | (A.11) Pressure Sensor w/ Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.A) Digital : 11 units | REXROTH | pX1_1 | HM20-21 | pX1_1UN | 0 to 50 bar, 4-20mA |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1358 | Key Solutions | JS
HY | (B.1) Pressure Gauge | (1) SSTB 135 Standard Service Test Bench 135KW | (1.B) Analog : 13 units | WIKA | PBoost1 |  | 5401CV5WVb | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1367 | Key Solutions | JS
HY | (B.2) Pressure Gauge | (1) SSTB 135 Standard Service Test Bench 135KW | (1.B) Analog : 13 units | WIKA | pHD_3 |  | 5401CV64W1 | 0 to 600 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1373 | Key Solutions | JS
HY | (B.3) Pressure Gauge | (1) SSTB 135 Standard Service Test Bench 135KW | (1.B) Analog : 13 units | WIKA | pB_1HP |  | 5401CV62X8 | 0 to 600 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1365 | Key Solutions | JS
HY | (B.4) Pressure Gauge | (1) SSTB 135 Standard Service Test Bench 135KW | (1.B) Analog : 13 units | WIKA | pA_1LP |  | 5401CV5TYj | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1366 | Key Solutions | JS
HY | (B.5) Pressure Gauge | (1) SSTB 135 Standard Service Test Bench 135KW | (1.B) Analog : 13 units | WIKA | pA_1HP |  | 5401CV65ZJ | 0 to 600 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1364 | Key Solutions | JS
HY | (B.6) Pressure Gauge | (1) SSTB 135 Standard Service Test Bench 135KW | (1.B) Analog : 13 units | WIKA | pHPAUX |  | 5401CV63A5 | 0 to 600 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1368 | Key Solutions | JS
HY | (B.7) Pressure Gauge | (1) SSTB 135 Standard Service Test Bench 135KW | (1.B) Analog : 13 units | WIKA | pLPAUX |  | 5401CV5SBc | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1369 | Key Solutions | JS
HY | (B.8) Pressure Gauge | (1) SSTB 135 Standard Service Test Bench 135KW | (1.B) Analog : 13 units | WIKA | pTANK |  | 5401CV61CB | 0 to 10 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1374 | Key Solutions | JS
HY | (B.9) Pressure Gauge | (1) SSTB 135 Standard Service Test Bench 135KW | (1.B) Analog : 13 units | WIKA | pY_3 |  | 5401CV5ZDd | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1370 | Key Solutions | JS
HY | (B.10) Pressure Gauge | (1) SSTB 135 Standard Service Test Bench 135KW | (1.B) Analog : 13 units | WIKA | pY_1A |  | 5401CV60EA | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1371 | Key Solutions | JS
HY | (B.11) Pressure Gauge | (1) SSTB 135 Standard Service Test Bench 135KW | (1.B) Analog : 13 units | WIKA | pY_1B |  | 8803OCZFFO | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1372 | Key Solutions | JS
HY | (B.12) Pressure Gauge | (1) SSTB 135 Standard Service Test Bench 135KW | (1.B) Analog : 13 units | WIKA | pX1_1 |  | 8803OCZIGy | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1359 | Key Solutions | JS
HY | (B.13) Pressure Gauge | (1) SSTB 135 Standard Service Test Bench 135KW | (1.B) Analog : 13 units | WIKA | pX2_1 |  | 5401CV5VHJ | 0 to 60 bar |  |  | Y | 2 | 2024-11-29 | 2026-11-29 | 21.3 | In-House | KSO-P1361 | Key Solutions | JS
HY | (C.1) Flow Indicator/Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.C) Flow Indicator/Digital Indicator : 4 units | KARL |  |  | 497963Il | 0.1-15 l/min |  |  | Y | 2 | 2024-10-23 | 2026-10-23 | 20 | In-House | 24-1228 | OrchidCal | JS
HY | (C.2) Flow Indicator/Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.C) Flow Indicator/Digital Indicator : 4 units | KARL |  |  | 497964Jv | 0.3-45 l/min |  |  | Y | 2 | 2024-10-23 | 2026-10-23 | 20 | In-House | 24-1227 | OrchidCal | JS
HY | (C.3) Flow Indicator/Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.C) Flow Indicator/Digital Indicator : 4 units | KARL |  |  | 497962KS | 3.5-525 l/min |  |  | Y | 2 | 2024-10-23 | 2026-10-23 | 20 | In-House | 24-1226 | OrchidCal | JS
HY | (C.4) Flow Indicator/Digital Indicator | (1) SSTB 135 Standard Service Test Bench 135KW | (1.C) Flow Indicator/Digital Indicator : 4 units | KARL |  |  | 497965Le | 0.3-45 l/min |  |  | Y | 2 | 2024-10-23 | 2026-10-23 | 20 | In-House | 24-1225 | OrchidCal | JS
HY | (A.1) LHD Test Rig: Pressure Gauge | (2) LHD TEST RIG | (A) Pressure Gauge : 10 Units | REXROTH | Charge Pressure CP | R900072011 | 11052737756 "CHARGE PRESSURE" CPMX | 0~60 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.5 | In-House | AON-23-1027 | OrchidCal | JS
HY | (A.2) LHD Test Rig: Pressure Gauge | (2) LHD TEST RIG | (A) Pressure Gauge : 10 Units | REXROTH | Test Gauge A | R900066323 | TEST GAUGE ANr | 0~400 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.5 | In-House | AON-23-1028 | OrchidCal | Tay
HY | (A.3) LHD Test Rig: Pressure Gauge | (2) LHD TEST RIG | (A) Pressure Gauge : 10 Units | REXROTH | Test Gauge B | R900066323 | 8973SRAAO3 | 0~400 BAR |  |  | Y | 2 | 2024-08-26 | 2025-08-26 | 5.9 | In-House | ML-24-1320 | OrchidCal
HY | (A.4) LHD Test Rig: Pressure Gauge | (2) LHD TEST RIG | (A) Pressure Gauge : 10 Units | REXROTH | Pressure B1 | R900066323 | PRESSURE B1PI | 0~400 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.5 | In-House | AON-23-1030 | OrchidCal | Tay
HY | (A.5) LHD Test Rig: Pressure Gauge | (2) LHD TEST RIG | (A) Pressure Gauge : 10 Units | REXROTH | Pressure A1 | R900066323 | 1105475215 "PRESSURE" A1Qp | 0~400 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.5 | In-House | AON-23-1031 | OrchidCal | Tay
HY | (A.6) LHD Test Rig: Pressure Gauge | (2) LHD TEST RIG | (A) Pressure Gauge : 10 Units | REXROTH | Pressure A | R900066323 | PRESSURE ARV | 0~400 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.5 | In-House | AON-23-1032 | OrchidCal | Tay
HY | (A.7) LHD Test Rig: Pressure Gauge | (2) LHD TEST RIG | (A) Pressure Gauge : 10 Units | REXROTH | Pressure C | R900066323 | 1105475215 "PRESSURE" CS8 | 0~400 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.5 | In-House | AON-23-1033 | OrchidCal | Tay
HY | (A.8) LHD Test Rig: Pressure Gauge | (2) LHD TEST RIG | (A) Pressure Gauge : 10 Units | CAPRI | Case Pressure D1 |  | CASE PRESSURE D1TP | 0~20 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.5 | In-House | AON-23-1034 | OrchidCal | Tay
HY | (A.9) LHD Test Rig: Pressure Gauge | (2) LHD TEST RIG | (A) Pressure Gauge : 10 Units | REXROTH | Brake Pressure | R900066324 | 014642190 "BRAKE PRESSURE"UT | 0~250 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.5 | In-House | AON-23-1035 | OrchidCal | Tay
HY | (A.10) LHD Test Rig: Pressure Gauge | (2) LHD TEST RIG | (A) Pressure Gauge : 10 Units | WIKA | Charge |  | 150188001LW8 (CHARGE)V4 | 0~60 BAR |  |  | Y | 2 | 2023-03-16 | 2025-03-16 | 0.5 | In-House | AON-23-1036 | OrchidCal | Tay
HY | (B.1) LHD Test Rig: Flow meter | (2) LHD TEST RIG | (B) Flow Meter, Pressure Tranducer, Probe : 9 Units | HYDROTECHNIK | QT 100 | 31V7-72-S-35.030 | 21319W9 | 0~600 L/min | +/- 5% |  | Y | 2 | 2022-02-16 | 2024-02-16 | -12.6 | In-House | OR-22-1037 | HYDROTECHNIK | JS
HY | (B.2) LHD Test Rig: Flow meter | (2) LHD TEST RIG | (B) Flow Meter, Pressure Tranducer, Probe : 9 Units | HYDROTECHNIK | QT 110 | HYSense QT 110 31G7-71-S-35.030 | 24919Xr | 9~300 L/min | +/- 5% |  | Y | 2 | 2024-02-08 | 2026-02-07 | 11.4 | In-House | 53756 | HYDROTECHNIK | JS
HY | (B.3) LHD Test Rig: Flow meter | (2) LHD TEST RIG | (B) Flow Meter, Pressure Tranducer, Probe : 9 Units | HYDROTECHNIK | QT 100 | 31V7-72-S-35.030 | 33303Y9 | 0~600 L/min | +/- 5% |  | Y | 2 | 2024-09-02 | 2026-09-02 | 18.3 | In-House | OR-24-1931 | OrchidCal | JS
HY | (B.4) LHD Test Rig: Pressure Transducer | (2) LHD TEST RIG | (B) Flow Meter, Pressure Tranducer, Probe : 9 Units | HYDROTECHNIK | PR100 | 3403-15-S-E5.33 | 51212199ZC | 0 ~ 400 BAR | Â±1% |  | Y | 2 | 2024-01-10 | 2026-01-10 | 10.5 | In-House | KS-P1787 | Key Solutions | JS
HY | (B.5) LHD Test Rig: Pressure Transmitter | (2) LHD TEST RIG | (B) Flow Meter, Pressure Tranducer, Probe : 9 Units | HYDROTECHNIK |  | 34P3-18-S-01.37A2 | 1325AR | 0 ~ 600 BAR | Â±0.25% |  | Y | 2 | 2024-08-26 | 2026-08-26 | 18.1 | In-House | ML-24-1318 | OrchidCal | JS
HY | (B.6) LHD Test Rig: Pressure Transmitter | (2) LHD TEST RIG | (B) Flow Meter, Pressure Tranducer, Probe : 9 Units | HYDROTECHNIK |  | 34P3-18-S-01.37A2 | 1333BC | 0 ~ 600 BAR | Â±0.25% |  | Y | 2 | 2024-08-26 | 2026-08-26 | 18.1 | In-House | ML-24-13193 | OrchidCal | JS
HY | (B.7) LHD Test Rig: Temperature Probe with Indicator | (2) LHD TEST RIG | (B) Flow Meter, Pressure Tranducer, Probe : 9 Units | HYDROTECHNIK |  | 34P3-18-S-01.37A2 | 18205CJ | (-50 ~ 200DegC) |  |  | Y | 2 | 2024-08-26 | 2026-08-26 | 18.1 | In-House | TL-24-1124 | OrchidCal | JS
HY | (B.8) LHD Test Rig: Flow meter | (2) LHD TEST RIG | (B) Flow Meter, Pressure Tranducer, Probe : 9 Units | HYDROTECHNIK |  | HYSense QT 100 31V7-72-S-35.030 | 24393Do | 16~600 L/min | +/- 5% |  | Y | 2 | 2024-02-08 | 2026-02-07 | 11.4 | In-House | 53755 | HYDROTECHNIK | JS
HY | (3.A.1) Valve Test Bench: Pressure Gauge | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.A) VALVE TEST BENCH - 6 Units (ST Engineering's Job) | WIKA | MAIN | 233.50.160 | 8972X5XXEw | 0~600 BAR |  |  | Y | 1 | 2024-11-28 | 2025-11-28 | 9.1 | In-House | KSO-P1350 | Key Solutions | JS
HY | (3.A.2) Valve Test Bench: Pressure Gauge | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.A) VALVE TEST BENCH - 6 Units (ST Engineering's Job) | WIKA | PILOT | 233.50.160 | 8972X5XVFb | 0~250 BAR |  |  | Y | 1 | 2024-11-28 | 2025-11-28 | 9.1 | In-House | KSO-P1351 | Key Solutions | JS
HY | (3.A.3) Valve Test Bench: Pressure Gauge | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.A) VALVE TEST BENCH - 6 Units (ST Engineering's Job) | WIKA | A | 233.50.160 | 8972X5XYGt | 0~600 BAR |  |  | Y | 1 | 2024-11-28 | 2025-11-28 | 9.1 | In-House | KSO-P1347 | Key Solutions | JS
HY | (3.A.4) Valve Test Bench: Pressure Gauge | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.A) VALVE TEST BENCH - 6 Units (ST Engineering's Job) | WIKA | B | 233.50.160 | 8972X5XWHp | 0~600 BAR |  |  | Y | 1 | 2024-11-28 | 2025-11-28 | 9.1 | In-House | KSO-P1346 | Key Solutions | JS
HY | (3.A.5) Valve Test Bench: Pressure Gauge | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.A) VALVE TEST BENCH - 6 Units (ST Engineering's Job) | WIKA | C | 213.53.100 | 880216XNIY | 0~600 BAR |  |  | Y | 1 | 2024-11-28 | 2025-11-28 | 9.1 | In-House | KSO-P1348 | Key Solutions | JS
HY | (3.A.6) Valve Test Bench: Pressure Gauge | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.A) VALVE TEST BENCH - 6 Units (ST Engineering's Job) | WIKA | D | 213.53.100 | 880216XMJH | 0~600 BAR |  |  | Y | 1 | 2024-11-28 | 2025-11-28 | 9.1 | In-House | KSO-P1349 | Key Solutions | JS
HY | (3.B.1) Valve & HPU Test Bench: Pressure Gauge | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.B) VALVE + HPU TEST BENCH - 5 Units (ST Engineering's Job) | REXROTH | A | R900066323 | 5402PDBGKG | 0 ~ 400 BAR |  |  | Y | 1 | 2025-01-03 | 2026-01-03 | 10.3 | In-House | KSO-P1396 | Key Solutions | JS
HY | (3.B.2) Valve & HPU Test Bench: Pressure Gauge | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.B) VALVE + HPU TEST BENCH - 5 Units (ST Engineering's Job) | REXROTH | B | R900066323 | 54024G38L7 | 0 ~ 400 BAR |  |  | Y | 1 | 2025-01-03 | 2026-01-03 | 10.3 | In-House | KSO-P1397 | Key Solutions | JS
HY | (3.B.3) Valve & HPU Test Bench: Pressure Gauge | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.B) VALVE + HPU TEST BENCH - 5 Units (ST Engineering's Job) | REXROTH | C | R900066323 | 54024G3AMF | 0 ~ 400 BAR |  |  | Y | 1 | 2025-01-03 | 2026-01-03 | 10.3 | In-House | KSO-P1398 | Key Solutions | JS
HY | (3.B.4) Valve & HPU Test Bench: Pressure Gauge | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.B) VALVE + HPU TEST BENCH - 5 Units (ST Engineering's Job) | REXROTH | Pump 1 | R900066323 | 5402PDAZNm | 0 ~ 400 BAR |  |  | Y | 1 | 2025-01-03 | 2026-01-03 | 10.3 | In-House | KSO-P399 | Key Solutions | JS
HY | (3.B.5) Valve & HPU Test Bench: Pressure Gauge | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.B) VALVE + HPU TEST BENCH - 5 Units (ST Engineering's Job) | REXROTH | Pump 2 | R900066323 | 5402PDCOOd | 0 ~ 400 BAR |  |  | Y | 1 | 2025-01-03 | 2026-01-03 | 10.3 | In-House | KSO-P1400 | Key Solutions | JS
HY | (3.C.1) Torque Wrench | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.C) TOOLING FOR ST ENGINEERING'S JOB USES | STAHLWILLE |  | 730/30 Quick | 224098609PD | 60-300 N-m, 50-220 ft-ib |  |  | Y | 1 | 2024-03-04 | 2025-03-04 | 0.1 | Lab | 654064 | OrchidCal | RC
HY | (3.C.2) Torque Wrench | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.C) TOOLING FOR ST ENGINEERING'S JOB USES | STAHLWILLE |  | 730/30 Quick | 124101300QE | 60-300 N-m, 50-220 ft-ib |  |  | Y | 1 | 2024-03-05 | 2025-03-05 | 0.1 | Lab | 654561 | OrchidCal | RC
HY | (3.C.3) Torque Wrench | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.C) TOOLING FOR ST ENGINEERING'S JOB USES | STAHLWILLE |  | Manoskop 730/5 Quick | 124059250Rz | 6-50 N-m, 5-36 ft-ib |  |  | Y | 1 | 2024-12-24 | 2025-12-24 | 9.9 | Lab | CTP 1911M-24 | Key Solutions | RC
HY | (3.C.4) Torque Wrench | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.C) TOOLING FOR ST ENGINEERING'S JOB USES | STAHLWILLE |  | Manoskop 730/5 Quick | 224051383Sr | 6-50 N-m, 5-36 ft-ib | +/- 5% |  | Y | 1 | 2024-12-24 | 2025-12-24 | 9.9 | Lab | CTP 1912M-24 | Key Solutions | RC
HY | (3.D.1) Flowmeter | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.D) FLOWMETER FOR ST ENGINEERING'S JOB USES | AW-LAKE | Asset No: 100624.3 | B4A-6HC-30 (Â¾â€ NPT (Female)) | I91310324TQ | 15 to 120 LPM | +/- 5% |  |  | 1 | 2025-01-18 | 2026-01-18 | 10.8 | Lab | ASTC25/1239 | Key Solutions
HY | (3.D.2) Flowmeter | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.D) FLOWMETER FOR ST ENGINEERING'S JOB USES | AW-LAKE | Asset No: 100624 | B3A-6HT-15 (Â½â€ BSP) | E49640521Ug | 5 to 55 LPM | +/- 5% |  |  | 1 | 2025-01-18 | 2026-01-18 | 10.8 | Lab | ASTC25/1240 | Key Solutions
HY | (3.D.3) Flowmeter | (3) TOOLS FOR ST ENGINEERING'S JOB (1 YEAR CALIBRATION INTERVAL) | (3.D) FLOWMETER FOR ST ENGINEERING'S JOB USES | AW-LAKE | Asset No: 100624 | B3A-6HR-02 (3/8â€ BSP) | J52380924V4 | 240 bar | +/- 5% |  |  | 1 | 2025-01-18 | 2026-01-18 | 10.8 | Lab | ASWO25/1114 | Key Solutions
LOG | Electronic Weighing Scale (3 Tons) | TOOLING WITHOUT NEED FOR CALIBRATION - FOR ROUGH MEASUREMENT USE ONLY |  | A&D Weighing | - | AD-4328 Weighing Indicator | K4610230WE | 3000KG x 1KG |  |  | Y | 1 | 2024-09-05 | 2025-09-05 | 6.3 | In-House | 168598 | CM Specialist Pte Ltd #97372433 | M.H.
FA | Vernier caliper | TOOLING WITHOUT NEED FOR CALIBRATION - FOR ROUGH MEASUREMENT USE ONLY |  | Hengliang |  |  | H22-3756Xn | 2500 mm |  |  | Y | 2 |  |  | - | N.A |  | Key Solutions | RK
FA | Mahr Portable Roughness Checker | TOOLING WITHOUT NEED FOR CALIBRATION - FOR ROUGH MEASUREMENT USE ONLY |  | MAHR |  |  | 12E201109004YO |  |  |  | Y | 2 |  |  | - | N.A. |  |  | RK
FA | DUNKES Hydraulic Straightening Press, sensitively controlled Type | TOOLING WITHOUT NEED FOR CALIBRATION - FOR ROUGH MEASUREMENT USE ONLY |  | Dunkes | 100554 (ICC BASA L2) | HR 25 | H22-3756 | - |  |  | Y | 2 |  |  | - | N.A. |  | DCSG Internal Calibration (Refer DCPD 50310-010) | RK
LOG | Azano Electronic Platform Scale | TOOLING WITHOUT NEED FOR CALIBRATION - FOR ROUGH MEASUREMENT USE ONLY |  | Azono | - | VC-50 | 12E201109004 | 60KG X 0.01KG |  |  | Y | 1 | 2024-06-14 | 2025-06-14 | 3.5 | N.A. | 167364 | CM Specialist Pte Ltd #97372433 | M.H.